## Slide 1: PV fault detection
3 November 2020

## Slide 2: Background-PV model
I-V Curve of a PV module
Equivalent circuit
PV model in Simulink

## Slide 3: Background-PV model

## Slide 4: Background-PV model

## Slide 5: Background - PV fault types
Open circuit
Line to line short circuit
Line to ground short circuit
Partial shading fault (intermittent)

## Slide 6: Motivation
PV data are difficult or expensive to obtain
The models are designed and trained only for certain PV installation

## Slide 7: Objective
Single PV Data
PV array Data
Array information
Fault diagnosis
NN classifier
NN classifier

## Slide 8: Single PV data
Normal
Short circuit
  R = 0
  R = 5
  R = 10
  R = 25
  R = 1000
Open circuit

## Slide 9: Array data 3x4
Normal
Short circuit
  1 string 1/2/3 panel(s)
  2 strings 1/2/3 panel(s)
Open circuit
  String 1/2/3

## Slide 10: Array data 10x9
Normal
Short circuit
  1 string 1/4/8 panel(s)
  2 strings 1/4/8 panel(s)
Open circuit
  1 case

## Slide 11: Data format
Different cases
Nser
Npar
Vmpp
Impp
Label
Number of series-connected modules per string
Number of parallel strings
Voltage at maximum power point
Current at maximum power point
Fault type, 1-normal, 2-open circuit, 3-short circuit

## Slide 12: Thank you

## Slide 13: Additional data
Open circuit voltage
Short circuit current